## Sheet1
DART+ Coastal North
Schedule 10 - Utility Decomissions and Interruptions
Associated Schedule 1 Works No. | Works Area | Description | Plan No. | Relevant Company
6.03 | South of Clongriffin Station and Surrounds | Decommissioning and removal of existing underground medium voltage power line, with diversion as per 6.02. | Works Layout Plan No. 6 | ESB
7.04 | Clongriffin Station and Surrounds | Decommissioning and removal of existing underground surface water pipe, with diversion as per 7.05. | Works Layout Plan No. 7 | Uisce Eireann
7.06 | Clongriffin Station and Surrounds | Decommissioning and removal of existing underground foul sewer, with diversion as per 7.07. | Works Layout Plan No. 7 | Uisce Eireann
11.14 | Malahide Viaduct and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 11.07, with diversion as per 11.13. | Works Layout Plan No. 11 | ESB
12.02 | Donabate Station and Surrounds | Decommissioning and removal of existing overhead telecommunications cable to accommodate the electrification works as per 12.12, with diversion as per 12.01. | Works Layout Plan No. 12 | EIR
12.09 | Donabate Station and Surrounds | Decommissioning and removal of existing overhead telecommunications cable to accommodate the electrification works as per 12.12, with diversion as per 12.01. | Works Layout Plan No. 12 | EIR
13.02 | Rush and Lusk Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 13.01, with diversion as per 13.06. | Works Layout Plan No. 13 | ESB
13.04 | Rush and Lusk Station and Surrounds | Decommissioning and removal of existing overhead telecommunications cable adjacent overbridge (OBB38) carrying Rogerstown Lane to accommodate the electrification works as per 13.01, with diversion as per 13.05. | Works Layout Plan No. 13 | EIR
13.14 | Rush and Lusk Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 13.01, with associated diversion as per 13.13. | Works Layout Plan No. 13 | ESB
13.16 | Rush and Lusk Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 13.01, with associated diversion as per 13.17, 13.18, 13.19. | Works Layout Plan No. 13 | ESB
13.22 | Rush and Lusk Station and Surrounds | Decommissioning and removal of existing overhead low voltage power line to accommodate the electrification works as per 13.01, with associated diversion as per 13.23. | Works Layout Plan No. 13 | ESB
13.24 | Rush and Lusk Station and Surrounds | Decommissioning and removal of existing overhead low/medium voltage power line to accommodate the electrification works as per 13.01, with associated diversion as per 13.25. | Works Layout Plan No. 13 | ESB
13.26 | Rush and Lusk Station and Surrounds | Decommissioning and removal of existing overhead telecommunications cable adjacent overbridge (OBB41) carrying Local Road in Rathartan to accommodate the electrification works as per 13.01, with diversion as per 13.27. | Works Layout Plan No. 13 | ESB
13.31 | Rush and Lusk Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 13.29, with associated diversion as per 13.32. | Works Layout Plan No. 13 | ESB
13.35 | Rush and Lusk Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 13.29, with associated diversion as per 13.36. | Works Layout Plan No. 13 | ESB
13.37 | Rush and Lusk Station and Surrounds | Decommissioning and removal of existing overhead 38kV power line to accommodate the electrification works as per 13.29, with associated diversion as per 13.38. | Works Layout Plan No. 13 | ESB
14.02 | Skerries Golf Club and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 14.01, with associated diversion as per 14.03. | Works Layout Plan No. 14 | ESB
14.04 | Skerries Golf Club and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 14.01, with associated diversion as per 14.05 and 14.06. | Works Layout Plan No. 14 | ESB
14.07 | Skerries Golf Club and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 14.01, with associated diversion as per 14.08. | Works Layout Plan No. 14 | ESB
14.1 | Skerries Golf Club and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 14.01, with associated diversion as per 14.11. | Works Layout Plan No. 14 | ESB
14.12 | Skerries Golf Club and Surrounds | Decommissioning and removal of existing overhead low voltage power line to accommodate the electrification works as per 14.01, with associated diversion as per 14.13. | Works Layout Plan No. 14 | ESB
14.21 | Skerries Golf Club and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 14.25, with associated diversion as per 14.17 and 14.18. | Works Layout Plan No. 14 | ESB
14.24 | Skerries Golf Club and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 14.25, with associated diversion as per 14.23. | Works Layout Plan No. 14 | ESB
15.09 | Skerries Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 15.16, with associated diversion as per 15.10. | Works Layout Plan No. 15 | ESB
15.11 | Skerries Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 15.16, with associated diversion as per 15.14. | Works Layout Plan No. 15 | ESB
15.18 | Skerries Station and Surrounds | Decommissioning and removal of existing overhead low voltage power line to accommodate the electrification works as per 15.16, with associated diversion as per 15.19. | Works Layout Plan No. 15 | ESB
15.24 | Skerries Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 15.16, with associated diversion as per 15.25. | Works Layout Plan No. 15 | ESB
16.06 | Barnageeragh Bay and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 16.11, with associated diversion as per 16.08. | Works Layout Plan No. 16 | ESB
16.09 | Barnageeragh Bay and Surrounds | Decommissioning and removal of existing overhead low voltage power line to accommodate the electrification works as per 16.11, with associated diversion as per 16.06. | Works Layout Plan No. 16 | ESB
16.15 | Barnageeragh Bay and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 16.14, with associated diversion as per 16.17 and 16.19. | Works Layout Plan No. 16 | ESB
16.28 | Barnageeragh Bay and Surrounds | Decommissioning and removal of existing overhead medium voltage power line to accommodate the electrification works as per 16.14, with associated diversion as per 16.26 and 16.27. | Works Layout Plan No. 16 | ESB
16.29 | Barnageeragh Bay and Surrounds | Decommissioning and removal of existing overhead low voltage power line to accommodate the electrification works as per 16.14, with associated diversion as per 16.30. | Works Layout Plan No. 16 | ESB
17.02 | Balbriggan Station and Surrounds | Decommissioning and removal of existing overhead low and medium voltage power lines to accommodate the electrification works as per 17.09, with associated diversion as per 17.03. | Works Layout Plan No. 17 | ESB
17.05 | Balbriggan Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power lines to accommodate the electrification works as per 17.09, with associated diversion as per 17.06. | Works Layout Plan No. 17 | ESB
17.07 | Balbriggan Station and Surrounds | Decommissioning and removal of existing overhead low voltage power lines to accommodate the electrification works as per 17.09, with associated diversion as per 17.08. | Works Layout Plan No. 17 | ESB
17.10 | Balbriggan Station and Surrounds | Decommissioning and removal of existing overhead low voltage power lines to accommodate the electrification works as per 17.09, with associated diversion as per 17.11. | Works Layout Plan No. 17 | ESB
17.12 | Balbriggan Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power lines to accommodate the electrification works as per 17.09, with associated diversion as per 17.13. | Works Layout Plan No. 17 | ESB
17.14 | Balbriggan Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power lines to accommodate the electrification works as per 17.09, with associated diversion as per 17.15. | Works Layout Plan No. 17 | ESB
17.20 | Balbriggan Station and Surrounds | Decommissioning and removal of existing overhead low voltage power lines to accommodate the electrification works as per 17.09, with associated diversion as per 17.21. | Works Layout Plan No. 17 | ESB
18.02 | Gormanston Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power lines to accommodate the electrification works as per 18.01, with associated diversion as per 18.03. | Works Layout Plan No. 18 | ESB
18.04 | Gormanston Station and Surrounds | Decommissioning and removal of existing overhead low voltage power lines to accommodate the electrification works as per 18.01, with associated diversion as per 18.05. | Works Layout Plan No. 18 | ESB
18.10 | Gormanston Station and Surrounds | Decommissioning and removal of existing overhead low voltage power lines to accommodate the electrification works as per 18.01, with associated diversion as per 18.09. | Works Layout Plan No. 18 | ESB
18.13 | Gormanston Station and Surrounds | Decommissioning and removal of existing overhead telecommunication lines to accommodate the electrification works as per 18.01, with associated diversion as per 18.14. | Works Layout Plan No. 18 | ESB
19.04 | Mosney and Surrounds | Decommissioning and removal of existing overhead medium voltage power lines to accommodate the electrification works as per 19.03, with associated diversion as per 19.05 and 19.07. | Works Layout Plan No. 19 | ESB
19.08 | Mosney and Surrounds | Diversion underground of an existing overhead power line which crosses the track at approx. chainage 44+300. Including receiving zones for directional drilling as well as erection of poles and supports local to the crossing point. Areas impacted by the works will be reinstated accordingly. | Works Layout Plan No. 19 | ESB
19.12 | Mosney and Surrounds | Decommissioning and removal of existing overhead low voltage power lines to accommodate the electrification works as per 19.03, with associated diversion as per 19.09. | Works Layout Plan No. 19 | ESB
19.13 | Mosney and Surrounds | Decommissioning and removal of existing overhead low voltage power lines to accommodate the electrification works as per 19.03, with associated diversion as per 19.14. | Works Layout Plan No. 19 | ESB
20.07 | Laytown Station and Surrounds | Diversion underground of an existing overhead power line which crosses the track at approx. chainage 44+940. Including receiving zones for directional drilling as well as erection of poles and supports local to the crossing point. Areas impacted by the works will be reinstated accordingly. | Works Layout Plan No. 20 | ESB
20.12 | Laytown Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power lines to accommodate the electrification works as per 20.13, with associated diversion as per 20.07 and 20.09 and 20.11. | Works Layout Plan No. 20 | ESB
20.2 | Laytown Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power lines to accommodate the electrification works as per 20.13, with associated diversion as per 20.19. (Similar to 21.01) | Works Layout Plan No. 20 | ESB
21.01 | Pilltown and Surrounds | Decommissioning and removal of existing overhead medium voltage power lines to accommodate the electrification works as per 21.02, with associated diversion as per 20.19. (Similar to 20.20) | Works Layout Plan No. 21 | ESB
21.04 | Pilltown and Surrounds | Decommissioning and removal of existing overhead medium voltage power lines to accommodate the electrification works as per 21.02, with associated diversion as per 21.03 | Works Layout Plan No. 21 | ESB
21.10 | Pilltown and Surrounds | Decommissioning and removal of existing overhead medium voltage power lines to accommodate the electrification works as per 21.16, with associated diversion as per 21.11 and 21.14. | Works Layout Plan No. 21 | ESB
21.14 | Pilltown and Surrounds | Diversion underground of an existing overhead power line which crosses the track at approx. chainage 50+280. Including receiving zones for directional drilling as well as erection of poles and supports local to the crossing point. Areas impacted by the works will be reinstated accordingly. | Works Layout Plan No. 21 | ESB
22.02 | Drogheda MacBride Station South | Decommissioning and removal of existing overhead 38kV voltage power lines to accommodate the electrification works as per 22.01, with associated diversion as per 22.04 | Works Layout Plan No. 22 | ESB
23.04 | Drogheda MacBride Station and Surrounds | Diversion underground of an existing overhead power line which crosses the track at approx. chainage 51+700. Including receiving zones for directional drilling as well as erection of poles and supports local to the crossing point. Areas impacted by the works will be reinstated accordingly. | Works Layout Plan No. 23 | ESB
23.05 | Drogheda MacBride Station and Surrounds | Decommissioning and removal of existing overhead medium voltage power lines to accommodate the electrification works as per 23.40, with associated diversion as per 23.03. | Works Layout Plan No. 23 | ESB
23.26 | Drogheda MacBride Station and Surrounds | Diversion of existing telecommunication ducts. | Works Layout Plan No. 24 | BT
Road Name | Description | Works Layout Plan No.
Corballis Back Road R126 | Proposed access to Donabate Traction Substation and permanent compound shall be via Corballis Back Road (R126). | Works Layout Plan No. 11
Station Road | Proposed access to Rush and Lusk Station and permanent substation and OHLE maintenance compound shall be via. Station Road (R128). | Works Layout Plan No. 13
Golf Links Road | Proposed access to Skerries South permanent electrical substation compound shall be via Skerries Golf Link Road. | Works Layout Plan No. 15
Barnageeragh Road | Proposed access to permanent substation compound 16.03 shall be via private road off Barnageeragh Road (L1270) | Works Layout Plan No. 16
R132 | Proposed access to Balbriggan electrical substation shall be via R132. | Works Layout Plan No. 17
R132 | Proposed access to Gormanston electrical substation shall be via a local road adjacent to Gormanston Camp off the R132. | Works Layout Plan No. 18
Narroways Road L5632 | Proposed access to Bettystown electrical substation shall be via Narroways Road L5632. | Works Layout Plan No. 20
Railway Terrace OBB 80, 80A and 80B | The reconstruction of overbridge carrying Railway Terrace (OBB80/80A/80B) to provide sufficient vertical clearance to install overhead line electrification. | Works Layout Plan No. 23